# *ANNEX II + III:* TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

**Contract title: Procurement of specialized equipment for Centar za promociju civilnog društva (Dom zdravlja Istočni Stari grad - First aid station Trebević) p 1 /…**

**Publication reference:** N-R- EC 010 – 002/2023

**Columns 1-2 should be completed by the contracting authority**

**Columns 3-4 should be completed by the tenderer**

**Column 5 is reserved for the evaluation committee**

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

* Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),
* Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)
* Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offeredspecifications.

| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered** | **4.**  **Notes, remarks,  ref to documentation** | **5.**  **Evaluation committee’s notes** |
| --- | --- | --- | --- | --- |
| **1.** | **LOT 1: SUV vehicle** | | | |
| **1.1.** | **Technical specification:**  New vehicle, year of production: min 2022  Vehicle type: Passenger vehicle/travel vehicle  Engine volume: minimum 2000 ccm  Fuel: Diesel  Euro norm; min Euro 6  Engine power Minimum 140 KW  Number of cylinders: 4  Drive Selective: 4x4  Gearbox Manual: 6 speeds x R  Front brakes: disc  Number of seats 5  Door number 5  Vehicle length: Minimum 5000 mm  Vehicle width with mirrors: Minimum 1900 mm  Vehicle height: Minimum 1900 mm  Wheelbase: Minimum: 2700 mm  Ground clearance: minimum 210 mm  Payload: minimum 800 kg |  |  |  |
|  | Side mirrors El. adjustable  Windshield With heater  Tires 265/R16  Seat belts on all seats  Airbags Foot airbags for driver and front passenger, side airbags in the front seats, side airbags  Safety systems  \*ABS+EBD Wheel lock control + brake force distribution  \*VCS Vehicle Stability Control  \*BA Brake assistance  \*A-TRC Active Traction Control  \*EBS Electronic braking system  \*CMS Frontal Collision Mitigation System  Speakers: Minimum 6  Automatic air conditions  Warranty: minimum 4 years or 150.000 km |  |  |  |
| **2.** | **LOT 2. Medical equipment for the first aid station** | | | |
| 2.1. | **Low examination table -2 peaces**  1900x650x520 (H) mm (made of pipe Ø32mm, plasticized in the color of your chice. The lying part is two-part, with a movable headboard, made of a wooden base covered with a 50mm thick sponge and easily washable eco-leather**.** |  |  |  |
| 2.2. | **Infusion stand – 2 peaces**  Stainless steel (it is made of Ø25 and 18mm pipes. The base is a PVC star with Ø50mm wheels. Four-armed infusion stand |  |  |  |
| 2.3 | **Recumbent trolley for transporting patients with side rails – 1 peace**  2100x780x760 (H)mm (they are made of pipes Ø32, Ø25, Ø22mm plasticized in the color of your choice. The lying part is two-part, with an adjustable headboard, made of a wooden base covered with a 50mm thick sponge and covered in easily washable eco-leather of your choice. Four points Ø150mm, the barking system is central. Accessories are movable side fences, an infusion stand, a basket and an oxygen bottle holder. |  |  |  |
| 2.4. | **Stainless steel cart - 4 shelves – 1 peace**  500x700x1093 (H)mm (made of stainless steel sheet 2 and 1 mm thick. Four shelves and a push handle. Four rubber wheels Ø50mm, two with break |  |  |  |
| 2.5. | **Trolley for instruments – 1 peace**  500x700x828 (H) mm (made of pipes Ø25 and 18mm with two shelves of hard-rolled sheet metal with a fence of rod Ø8mm, plasticized in the color of your choice, four rubber wheels Ø50mm, two with breaks |  |  |  |
| 2.6. | **GM folding stretcher**  Made of strong alloy and waterproof material. Lightweight, easy to carry, folds into 4. Length folds into 2 parts, and width folds into 2 parts. Comes with a carrying bag. Open size: 221 x 53 x 16 cm. Folded size: 104 x 19 x 12 cm, weight: 5 kg, load capacity: 150 kg |  |  |  |
| 2.7. | **Three-part screen – 2 pieces**  1500x1750 (H) mm (it is made of pipes Ø22mm, plasticized in the color of your choice. The canvas is cotton white or medically washable. At the end there are PVC wheels Ø50mm or PVC plugs) |  |  |  |
| 2.8. | **Laboratory chair LS01 – 4 pieces**  Plasticized metal structure, seat lacquered wood chip |  |  |  |
| 2.9. | **Outpatient cabinet – 1 peace**  600x400x1600 (H) mm (made of plasticized cold-rolled sheet 1.25 and 1 mm, with 6 mm ground glass door, four shelves and lock) |  |  |  |
| 2.10. | **Stainless steel bowl – 2 pieces**  Accessory for the examination table (made of high-quality stainless steel, dimension 300 mm) |  |  |  |
| 2.11. | **Medical instrument bag – 2 pieces**  Reinforced straps easy open zipper padded shoulder strap padded velcro handle 8 large elastic bands 2 side pockets 12 medium elastic bands flat document pockets, 2 flat mesh pockets, padded main compartment alrge capacity with removable partitions dimensions 31 x 22 x 11 cm, equipped with the necessary medical material - gauze pads, elastic bandages, plaster strips, comresses, cold compless in a bag, burn kit) |  |  |  |
| 2.12. | **Digital sphygmomanometer – 2 pieces**  Simple pressure measurement on the wrist with a large screen. Measures high, low pressure, and heart rate at the same time. Scale interval: 0.1kPa(1mmHg); automatic shutdown after 3 minutes. Works on 2 AAA batteries. |  |  |  |
| 2.13. | **E-mega black sphygmomanometer – 2 pieces**  Palm aneroid style sphygmomanometer available as 1 and 2 tube versions with one-piece latex-free cuffs that can be disinfected, maximum error tolerance +/- 3 mm Hg, microfilter protects the air release valve and measurement system |  |  |  |
| 2.14. | **Stethoscope Nurse – 2 pieces**  Flat membrane stethoscope intended for nurses, help when measuring blood pressure |  |  |  |
| 2.15. | **Neurological hammer – 1 piece**  Neurological hammer for reflex examinations |  |  |  |
| 2.16. | **Cassettes for instruments – 2 pieces**  20x10x6 cm cassette for sterilization of instruments with lid, material of manufacture: stainless steel) |  |  |  |
| 2.17. | **Kidney bag – 2 pieces**  280x141x33m (medical-size kidney bag made of stainless steel for multiple sterilizations in an autoclave |  |  |  |
| 2.18. | **Rolled ampoule – 1 piece**  Isothermal rolled ampoule designed to carry a large number of ampoules - up to 80 ampoules of different sizes |  |  |  |
| 2.19. | **ECG IE 6 A (ECG device) - 1 piece**  Smart and portable design, 8-inch TFT touch screen, waterproof full alphanumeric silicone keyboard with shortcuts. The device comes with a 10-core patient cable, a set of ECG clamps and a set of ECG pumps. Automatic activation of printing when an arrhythmia is detected during an examination after an automatic ECG operation. Rechargeable lithium battery 14.8V-2200mAh, for 3 hours of operation without a power adapter. |  |  |  |
| 2.20. | **Inhaler comp. SIMPLY – 1 piece**  A compact medical device designed to effectively deliver medications prescribed by a doctor to the bronchial airways. It includes a nebulizer, mouthpiece, air tube, mask, power switch, filter and cover, air vents |  |  |  |
| 2.21. | **New Askir 30 1LT JAR EUR PLUG – 1 piece**  Portable vacuum aspirator "ASKIR 30" (engine: oil-free piston pump, maintenance-free, power supply: 230V, bottle for collecting contents 1 x 1L |  |  |  |
| 2.22. | **Digital thermometer – 2 pieces**  Temperature measurement in just 60 seconds, easy battery change, memory dana on the last measurement, automatic shutdown, the thermometer is 100% waterproof and does not contain mercury |  |  |  |
| 2.23. | **Yellow bags for infectious waste 30L – 10 pieces**  Yellow bags for infectious waste 30L (Yellow bags with an integrated closing string, intended for packaging non-sharp medical infectious waste and potentially infectious waste. Label: BIOHAZARD Color: YELLOW Dimensions of 30L bag: 520mm x 550mm x 0,04 Material: LD-PE Dimensions of 20L bag: 310 (2x90)x600x0,05mm, packaging set of 10 pieces Material: HDPE |  |  |  |
| 2.24. | **Container for infectious material 0.5L – 5 pieces**  Temporary and permanent closure system - once the sharp objects are stored and locked, the lid cannot be opened. Puncture resistant. The MINI SERIES container is particularly suitable for smaller work environments, which generate small amounts of medical waste |  |  |  |
| 2.25. | **ADULT bag resuscitation set – 2 pieces**  Supplied with silicone face mask #4, 60 cm H2O pop-off valve, 2 meter oxygen tubing, autoclavable reservoir valve and 2,500 ml reservoir bag (volume: 1,600 ml), helical mouth wedge, tongue forceps, 10 Guedel airways with emergency bag |  |  |  |
| 2.26. | **Glucometer with strips – 4 pieces**  The system for measuring blood glucose levels includes a glucometer, lancets, strips and a lancet |  |  |  |
| 2.27. | **Pulse oximeter OXY 2 – 1 piece**  Pulse oximeter for measuring pulse oxygen saturation and pulse rate through the finger, SpO2 value and pulse rate display, bar graph display, low voltage indicator, automatic shutdown within 5 seconds, SpO2 range: 0-100%, energy consumption less than 25 mA, two batteries can work continously for 24 hours, dimensions - weight: 60x30.5xh 32.5 mm - 50 g including two batteries |  |  |  |
| 2.28. | **Esmarch belt Green rubber – 10 pieces**  Consists of an elastic strap and a plastic (ABS) buckle |  |  |  |
| 2.29. | **HeartSave AED GB\_XS\_SI\_HR-automatic external defibrillator – 1 piece**  Adult and child mode, includes 1 pair of SavePads PreConnect (adult), 1 resuscitation kit (razor, breathing cloth, disposable gloves, scissors), SaveCard, non-rechargeable battery 6 (up to 6 years on standby) |  |  |  |
| 2.30. | **Oxygen concentrator Aeroplus E – 1 piece**  Highly reliable oxygen concentrator that concentrates oxygen in the air in the room using the absorption process with a change in pressure, removing part of the nitrogen in the air in the room. The remaining gas contains up to 95% pure oxygen and is delivered to the patient up to 5 liters per minute |  |  |  |
| 2.31. | **Syringes 5ml a100 – 3 pieces**  Sterile two-part syringe without needle, syringe capacity is 5 ml. The tip of the syringe is eccentric (the tip is not in the middle but on the side of the syringe). The body of the syringe is transparent for better visualisation. The body of the syringe is marked with a scale for precise graduation |  |  |  |
| 2.32. | **Syringes 2ml a100 – 3 pieces**  Sterile two-part Luer Slip syringe without needle. The capacity of the syringe is 2 ml. The tip of the syringe is eccentric (the tip is not in the middle but on the side of the syringe). The body of the syringe is transparent for better visualization. There is a scale marked on the body of the syringe for precise graduations. |  |  |  |
| 2.33. | **Needles 0.8x40MM 21G a100 – 2 pieces**  Green, pack of 100, syringe needle, connection method: Luer slip. Cap type: plastic cap. Needle size: 0.8 x 40 mm. Needle type: Disposable needles |  |  |  |
| 2.34. | **Needles 0.6x40MM 21G a100 – 2 pieces**  Blue package, 100 pcs. Needle for syringes, connction method: Luer slip. Cap type: plastic cap. Needle size: 0.8 x 40 mm. Needle type: disposable needles |  |  |  |
| 2.35. | **Infusion systems – 80 pieces**  Single-use PVC infusion set made of ABS spike with air valve and 0.45-micron filter and polyethylene cap. Package contains 20/25 sets individually packed in blisters/polybags |  |  |  |
| 2.36. | **Sterile compresses 10x10cm a100 – 3 pieces**  Sterile gauze compresses are soft, complex, 16-layer compresses made of bleached cotton gauze, individually packed and sterilized. The density of the gauze is 10/7 threads/cm2 and corresponds to the EN 14079 standard. The gauze is bleached with hydrogen peroxide. They are used for cleaning wounds, as a dressing for wounds, and for hygienic purposes |  |  |  |
| 2.37. | **Gauze 1M – 70 pieces**  Gauze is woven, purified, bleached by VT process, highly hydrophilic and absorbent material, sterilized and separatly packed |  |  |  |
| 2.38. | **Set for small surgical interventions – 1 piece**  Surgical forceps 16cm, needle holder 14cm, surgical scissors 14cm, holder for scalpel legs, surgical thread set |  |  |  |
| **3.** | **LOT 3. Office furniture for the first aid station** | | | |
| 3.1. | **Office desk 1200x700x760 (H) mm – 1 piece**  Made of plasticized pipe Ø28mm. The top plate is ultaplas 20mm, edged with a wooden salt. Two drawers made of refined chipboard |  |  |  |
| 3.2. | **Wardrobe, single wing 350x500x1800(H)mm – 1 piece**  Made of cold-rolled sheet metal 0.8 mm thick, plasticized in the color of your choice. With a lock, in the upper part there is a shelf with a clothes hanger |  |  |  |
| 3.3. | **Upholstered plush sofa of modern design – 1 piece**  Brown; dimensions: 2m length, 80 cm depth, 80 cm height, with armrests |  |  |  |
| 3.4. | **Office armchair KF04a 700/700/470-570h – 1 piece**  Plastic star, high backrest, upholstered seat and backrest, plastic armrests, adjustable backrest and chair height |  |  |  |
| 3.5. | **Conference chair KS-01 465/420/430h – 8 pieces**  Metal structure, seat and backrest plastic upholstered in microfiber or fabric |  |  |  |
| 3.6. | **Metal filing cabinet 420x580x740(H) mm – 10 pieces**  Made of cold-rolled sheet metal 1 mm thick, plasticized in the color of your choice. In the upper part there is a lock for locking the drawers. |  |  |  |
| 3.7. | **Upholstered plush armchair of a modern design – 1 piece**  Brown, dimensions: height 80cm, width 60cm, depth 50cm, with or without armrests |  |  |  |
| 3.8. | **Metal filing cabinet 420x580x740(H) mm**  Made of cold-rolled sheet metal 1mm thick, plasticized in the color of your choice. In the upper part there is a lock for locking the drawers |  |  |  |
| 3.9. | **Double-wing wooden wardrobe in oak color – 1 piece**  Dimensions: height 2.4m, width 1m, depth 50-60cm, with doors that can be locked separately, with a shelf in the upper part and a shelf in the lower part (upper height 40cm, lower height 60cm and space for hangers between those two shelves |  |  |  |
| 3.10. | **Armchair of steel and fabric – 3 pieces**  Material wooden frame + fabric cover + high-quality steel legs. Dimensions: 74 x 81 x 82 cm (W x D x H). Seat width: 55 cm; seat depth: 55 cm; seat height from the ground: 42 cm |  |  |  |